Jacek Ciborowski

Institute of Experimental Physics                                     23 February, 2009

Faculty of Physics

Warsaw University

Hoża 69

00681 Warsaw

Poland

PROPOSAL

for measurements  using the DESY test beam 22

16-29 March  2009

entitled:

“ Study of  the Mimosa-18 pixel matrix“

Project leader:  Jacek Ciborowski,

Institute of Experimental Physics,

Warsaw University, Warsaw, Poland

cib@fuw.edu.pl

Project member (applying for TA):  Marek Adamus

Institute of Nuclear Studies,

Warsaw, Poland

Since over 3 years the Warsaw/Łódź   Group  is studying properties of pixel matrices as possible candidates for a pixel vertex detector at the ILC.    At the  considered future  e+e- collider ILC, the beams will collide with energies up to 1 TeV. There exist several concepts of detectors which will be placed at the interaction point however each of them is planned  to be equipped  with a vertex detector built of pixel matrices.  Such detector will record tracks of numerous particles emerging from the interaction of beam particles.  The pixel matrix is needed  to allow  for flavour identification in the final state. Hadrons containing heavy quarks decay within   m  distances from the production point.  Thus separation of  secondary vertices arising from decays of unstable particles is needed. This will be done  with the vertex detector which will be built of several layers of pixel matrices, each matrix having a 10-20  m  pixel spacing.  Such  detector will allow to  spatially reconstruct tracks  with a   m  precision and determine possible secondary verteces by means of e.g. impact parameter analysis.  MAPS - Monolithic Active Pixel Sensors - are candidates for being used   in  building such a detector. Charged particles  traversing a pixel matrix  deposit charge in  many pixels which taken together form a cluster.   Tracks close to being perpendicular to the matrix leave round clusters, which is mostly the case with the physics tracks.   However  an important source of background in e+e- collisions is beamstrahlung - an electromagnetic process in which a e+e- pair is produced as a result of  the beams interactions.  Our simulations have shown that beamstrahlung electron and positron  tracks impact the vertex detector matrices at different (larger)  angles than the tracks  of  particles originating  from the e+e- interaction.   Beamstrahlung tracks  often leave elongated, not  round, clusters and the degree of elongation is related to the angle of incidence.

Our activities are  presently focused at  investigations regarding cluster shapes corresponding to particles traversing the matrix at various angles. In October 2008 we  studied  cluster shapes  using the Mimosa-5 matrix at the test beam at DESY (1-6 GeV) and partially using the Mimosa-18 matrix. Both were  produced  by the IReS, Strasbourg, the former had  17 m pixel spacing while the latter had 10  m pixel spacing. In  December 2008 we studied cluster shapes using the Mimosa-18 matrix at a test beam in the Frascati Laboratory (300 and 750  MeV). The reason for the low energy scan was to obtain results for  energy values  falling into the  actual  energy  range  of the beamstrahlung pairs.  The measured dependence of the cluster elongation for the Mimosa-18 matrix, as function of the incidence angle  is shown in the Fig.1 (preliminary results):

Fig.1. Measured relative cluster elongation vs. the  angle of incidence for Mimosa-18 pixel matrix (preliminary results).

At Frascati  we measured the Mimosa-18 matrix without the trigger and without the tracking telescope.

During the presently  proposed data taking period,   16-29  March 2009, we intend  to do the following:

- perform measurements of the Mimosa-18 matrix with the trigger and tracking telescope using the setup shown in Fig.2.

- complete the measurements of the Mimosa-18   for a range of incident  beam energies   (mainly 1 GeV) and orientation angles

- study of the effect of  temperature on reconstruction of clusters (magnitude of the background and its influence on the reconstructed parameters – in particular accuracy  of the  angle reconstruction)

- study of the influence of the clock frequency on the  readout quality

The experimental setup consists of the studied matrix and the beam  microstrip telescope. The latter allows to determine the beam track parameters as well as correlate the  interpolated hit position at the matrix with the recorded cluster position. For the purpose of  variable orientation of the pixel matrix w.r.t. the test beam, we are using  a dedicated mechanical support which we have built. It allows to set  two angles to approximately desired values while the precise determination of the orientation is done  if the trigger telescope information is used. Fig. 2 shows the experimental setup which we are using.

Fig.2. Experimental setup.

The reasons for choosing the DESY test beam 22  are the following: (i) appropriate beam energies and intensities (ii)  the beam telescope is in place; (iii)  existing and known infrastructure for data taking (incl. cooling device as well as  mechanical support); (iv) software for data acquisition and backup disks are in place; (v) we are familiar and experienced with the general DESY infrastructure.

We are asking for two weeks of the Beam 22 at DESY, 16-29 March  2009.

The members  of the Warsaw/Łódź Group are: M. Adamus, J. Ciborowski, G. Grzelak, P. Łużniak, Ł. Mączewski, P. Nieżurawski and A.F. Żarnecki.

The tests will be performed by: M. Adamus,  Ł. Mączewski and J. Ciborowski.

We apply for the TA financing of the visit of 2 persons:

- M. Adamus      in the period 15-30 March,  2009  - 16 days.

- J. Ciborowski  in the period  19-25 March , 2009 – 7 days.