# Laser Alignment System for LumiCal

# J. Aguilar12 ,W. Daniluk1, E. Kielar1, J. Kotuła1,  A.  Moszczyński1,  K. Oliwa1, B. Pawlik1, W. Wierba1, L. Zawiejski1

Abstract

The status of  the laser positioning system for the LumiCal detector and plans future development plan are reported. LumiCal will be used to precisely measure  the luminosity in experiments at the future ILC (CLIC) collider and  knowledge about its displacement is necessary to achieve the required accuracy in luminosity measurement better than 10-3. The optical method for the displacement measurements  of LumiCal was tested using laboratory setup of two laser beams and CCD camera as the basic elements. The precision of the displacement measurements is estimated to be 0.5 m in X and Y direction and 1.5 m in Z direction  The system was sensitive to temperature changes on the level below 1 m / 10 C.  The extension of the system, taking into account integration of LumiCal with the ILD detector, will include  transparent sensors  and laser beam lines from frequency scanned interferometer.  The other activity  concentrates on a method for measurement of the displacement of the individual sensor layers inside LumiCal.

.

_______________________________

- Institute of Nuclear Physics PAN, Cracow,Poland

- University of Science and Technology, AGH, Poland

1  Introduction

In the framework of the International Large Detector (ILD) [1], one of the two detector concepts considered for the International Linear Collider ILC [2], the luminosity detector LumiCal will be located in a very forward region  together with BeamCal and Pair Monitor other detectors studied by FCAL Collaboration. Figure 1 illustrates this situation. The LumiCal detector [3], which contains two silicon-tungsten calorimeters, is expected to give a required precision luminosity measurement and to extend calorimetric coverage mainly for electrons and photons at low polar angles between 30 and 80 mrad. The luminosity measurement will be based on the determination of the Bhabha events rate and  a relative precision of the integrated luminosity (L/L) better then of 10-3 will be achievable. To fulfill this task it is necessary to build a detector with micrometer precision and to have an online laser positioning system for a displacement monitoring of LumiCal [4]  with an accuracy of  a few hundred micrometers as well as  the displacement of its internal layers with an accuracy of a few micrometers. The integration of LumiCal with the ILD raises several questions related to available free space for the laser alignment system (LAS) and the detector installation procedure. Another problem can stem from requirements to have easy access to subdetectors. Hence, further extensions and modifications of the LAS are necessary.

Inside ILD (ILC)  detector  structure,  LumiCal  detector contains two electromagnetic  calorimeters located  on both sides  of  the interaction

point ( IP),  2.5 m from it.

BeamCal, Pair Monitor PpppppPppMooPpmonitorPair  MooovrMmmmmmMonitor mmmmMonitorMonitor

LumiCal llllllllllllllllllllllllllllllllllllllllLLLlllllllllLLLLLLLlllllll

LHcal

ECAlLLLLLLLLLllLL

HCALLLLLL

TPCCcC

A prototype of  the  silicon-tungsten sandwich LumiCal

calorimeter. The yellow sectors were used in testbeam

measurements at DESY (Augst 2010)

Figure 1.  The LumiCal detector  together with other forward calorimeters inside  ILD detector structure.

2  Limits  for  accuracy in position measurements

The luminosity measurement requires precise alignment of the two LumiCal calorimeters (Left, Right) with respect to each other, and with respect to the beam line and the interaction point, as illustrated in Figure 2. Monte Carlo [5] studies have been performed  to estimate the influence of the LumiCal displacements (both calorimeters treated as the whole as well as their internal layers) on  accuracy of the relative  luminosity, L/L,  measurements.

5000 mm

560 mm

152m m

mmmmmmmmmmmmmm

mm

mmmmmm

175 mm

175 mm

Distance between

two LumiCal’s

should be

known with accuracy

less  than  100  µm.

LumiCal calorimeters -

centered on outgoing beam

Up

Down

min

IP

LumiCal X, Y position

with respect

to the reference frame –

QD0 magnet, beam pipe,

should be known with

accuracy better

than ~100  µm)

Figure 2.  The parts of the LumiCal detector located in respect to Interaction Point (IP).

Top: Left and  Right  calorimeters; Bottom: The structure of  the single calorimeter.

The   results of  Monte Carlo simulations have shown that the inner radius of sensors layers has to be known to the accuracy of better than 4 μm, the distance between calorimeters along the beam axis must be known to an accuracy of 100 μm over the 5. m distance, and the transversal displacement (X, Y) with respect to the beam must be known to an uncertainty of

better than 600 m. According to [2], the crossing angle for electron and positron beams         at ILC will be 14 mrad and LumiCal will be centered on outgoing beam. What is particularly important for precise luminosity is knowledge of the inner acceptance radius of LumiCal, which defines the minimal polar angle min (Fig. 2). Practically, the radial position of the sensors has to be measured with an uncertainty of 4 m. The initial value for this radius can be measured in the lab using optical methods and precision movable table. The beam pipe is proposed as a suitable reference for the distance along the beam and transversal displacement and can be precisely surveyed  under different conditions (i.e. temperature) before installing.  Additionally, the Beam Position Monitors are mounted at a well known position inside the vacuum pipe, which allows for determining the actual position of LumiCal with respect to the beam position. A similar method can be used by choosing well known positions of the QD0 magnets as reference frame. Online monitoring of the detector position should not interfere with the beam pipe, hence a non contact system is preferred. For this purpose an optical laser system with a CCD matrix sensor to measure the transverse (X, Y) and longitudinal (Z) displacement of  LumiCal with respect to the beam pipe flange has been chosen and tested in laboratory. To minimize the influence of radiation in that area, radiation hard  sensors can be used instead. The use of a few transparent position sensors per calorimeter would give the possibility of also measuring the angle between detector axis and beam direction. For absolute measurements of the distance between two calorimeters it will be necessary to include a frequency scanned interferometry (FSI) system.

3  The laser positioning system

For the LumiCal position measurements and monitoring, the laser positioning system was proposed  and then built and tested in laboratory environment by INPPAS Cracow  [4].    Figure 3 shows the laboratory setup which was used to test the principle and determine the accuracy of the position measurement. The base elements were: a  CCD camera, laser beams, mirrors and filters. The camera was placed on the XYZ travel translation stage  with 10 micrometers steps and the corresponding lasers were mounted in a special

Figure 3. The laboratory setup used in tests of the laser positioning system.

holder in front of the camera. The camera displacement has been  controlled independently by using an optical linear  encoder with resolution of 0.1 m. The reduction of the laser light intensity needed to avoid saturation in the pixel sensor  was done with colour-neutral filters.             In the final test measurements two laser beams were used. One was perpendicular to the face  of a CCD camera while the other  formeds 45 degrees angle with the face. Reading out the CCD camera one can find two laser spots of different shapes as shown in Figure 4. The spot position of the perpendicular laser beam gives displacement in (X-Y) plane whereas  the distance between the two spots

Figure 4. Simplified scheme of the method  of  X,Y and Z displacement measurements  with two laser beams created the beam spots observed on the face of CCD camera.

is used  to calculate in  the Z direction.  The centres of the spots were calculated

using an algorithm to calculate an average of the pixel coordinates within the spot weighted by the light intensity. A threshold on the pixel signal is applied to remove electronic noise. The obtained accuracy in X and Y position measurements was 0.5 m  and in Z direction 1.5 m [4]. The sensitivity of the system to the temperature  changes was found to be  below 1 m / 10C in the long term measurements. These results completely satisfy  the necessary precision  required for LumiCal position  monitoring.

Taking into acount  these results, the  LumiCal laser positioning system  will be developed,   where more  sensitive  sensors including  transparent ones and  laser beam lines from  frequency scanned interferometry  (FSI)  will be included. The possible displacement measurements between two (L-R) calorimeters  are shown in Figure 5.  At least 6 transparent

- Figure 5.  A  schematic view of the possible laser alignment system with  transparent sensors used for  position meaurement  of  the LumiCal calorimeters.

sensors for space orientation both calorimeters inside  carbon tube (probably with additional vacuum pipes)  are required. The system aso needs  laser beam lines from FSI interferometer.

4  LumiCal – Monte Carlo simulation of  LAS system

The first step in design the final prototype LumiCal alignment system  was estimation  of the expected resolution in distance measurements, taking into account the properties of the individual elements of the system: their resolution in responses to laser beam inpact, stiffness or changes with temperature. This was done  using the SIMULGEO pogram [6].  Figure 6 shows two cases of laser beam configurations with FSI distance measurements corresponding to situations when the LumiCal is close (running conditions) or when it is open.  For FSI laser beams, an accuracy 1 m  was  used.  In measurements of the relative distances to the beam pipe, the precision obtained  for X, Y and Z measurements of modules (L0, L1, L2, L3)  was below 100 m  and below 600 rad for modules’ rotation angles. This is illustrated  in Figure 6 (right).

During a run

A maintenance mode)

FSI lines

FSI lines

FSI lines

L0

L1

L2

L3

Figure 6.   Left: The simple FSI system used in Monte Carlo studies of the LAS prototype.

The simulation are used to estimate accuracy  in the LumiCal position measurements relative to the beam pipe position as reference frame. The number 0, 1, 2 and 3  indicate the different  LumiCal  detector modules; Right : Result of studies: the resolution in X, Y and Z distances and rotation angles  for  the  LumiCal modules measured relative to beam pipe.

5 LumiCal Laser Positioning System and  ILD

LumiCal will be placed inside the ILD detector as shown in  Figure 7. The installation of LumiCal laser alignment system  requires  additional infrastructure around the beam pipe. In an simplified approach e.g. six laser beams necessary for the laser positioning system described above should be  installed inside the carbon support for the beam pipe.

In  stand-alone approach to the final  prototype LumiCal  LAS system, the laser beam lines of frequency scanned interferometry (FSI) [7] can be used for the displacement measurements both  (L,R) calorimeters relative to QD0 magnet (or beam pipe) as well to the distance betwen them. A modified system with transparent position sensors (TS)  together with infra-red laser beam (or red light diodes )  is also being  considered.

QD0

red light

laser

TS

Transp.

sensor

Figure 7.   Top: The LumiCal calorimeters inside ILD detector geometry with laser beam lines which can be used in the distance measurement between calorimeters;  Bottom: possibility  of  use the positions information of  QD0 magnet and beam pipe for LAS of LumiCal detector where transparent  sensors and FSI beams  will be the base elements of  the system.

6  Displacement of the internal silicon layers

For   required precision in luminosity measurements, measurement of the inner radius of the sensor layers should be accurate to about  4 m. For this purpose it is necessary to build system for measurements of the displacement of LumiCal internal sensor layers. One possibility is to use transparent micro-strip sensors which  were built and succesfully tested  inside EUDET program  as a system for silicon tracking alignment for the ILD detector [8] . Figure 8 shows a  possible configuration of the transparent sensors used  for LumiCal calorimeter.

Figure 8.  The  preliminary design  of the  system  for displacemet measurement  of the internal silicon layers inside LumiCal  calorimeter.  It contains  several  transparent  micro-strip  sensors  put on  selected  internal layers of the calorimeter together with infra-red laser beam.

7  Conclusions

Precise measurement of the displacements of the LumiCal calorimeters as well as their internal layers is necessary to achieve the required accuracy in luminosity measurements.

A simple method was proved to monitor displacements of the LumiCal detector using two laser beams with 0 and 45 degree angles and a  CCD  sensor. The accuracy reached 0.5 m for shifts in the plane perpendicular to one of the laser beams and 1.5 m in the direction along this laser beam is better than required from physics.

In the next step, taking into account integration with ILD detector, more advanced alignment system including FSI  and transparent micro-strip sensors will be used. The mesurements will use the QD0 magnet or the beam pipe as a reference frame since their positions will be known with very high precision.  For displacement measurements of the internal silicon layers, the special system  based on  the transparent sensors is considered.

Acknowledgements

This work is partly supported by:

Commission of the European Communities under the 6th Framework Programme “Structuring

the European Research Area”, contract number RII3-026126,

The Polish Ministry of Science and Higher Education

under Agreement  No. 141/6.PR UE/2007/7

and

The FP7 multi-site Initial Training Network (MCPAD) on particle detectors in physics

experiments.

References

[1]    The Internatonal Large Detector, Letter of Intent, February 2010,  DESY 2009-87,

FERMILAB-PUB-09-682-E; KEK Report 2009-6,    http://www.ilcild.org;

[2]    International Linear Collider: http://www.linearcollider.org/cms.

[3]     The FCAL Collaboration: http://www-zeuthen.desy.de/ILC/fcal;

EUDET-Memo-2009-10;  EUDET-Memo-2010-06;

H. Abramowicz et al., “Forward instrumentation for ILC detectors”, DESY-10-142,

to be published in JINST.

[4]    W. Wierba, J. Zachorowski, K. Oliwa, “Laser measurement of the LAS detector

displacement”, Report No. 1391/PH, IFJ PAN Cracow 2003;

EUDET-Memo-2008-14;  EUDET -Report -2008-05;

“Report  for the ILC Detector R&D panel Instrumentation of the Very Forward

Region”, PRC Document , Updated version, November 2009,  DESY PRC, 2009;

L.Zawiejski, “Forward Detectors – status report”,  ILD MDI worshop, 27 January,

Paris, 2010;  “Laser alignment system for LumiCal”, EUDET  Annual Meeting, 29

September, DESY, 2010.

[5]   A.Stahl, “Luminosity Measurement via Bhabha Scattering: Precision Requirements

for the Luminosity Calorimeter”, LC-DET-2005-004, Apr 2005;

B. Pawlik,  “LumiCal   Monte Carlo simulation  using Geant3 and Geant4

programs”,  Talks  at  FCAL  regular meetings.

[6]   SIMULGEO: Simulation and reconstruction software for opto-geometrical system.

CMS NOTE 1998/079.

[7]    A. F. Fox-Murphy et al., Nuclear Instruments and Methods in Physics Research A

383  (1996) 229;

Hai-Jun Yang et all., “Frequency Scanned Interferometry for ILC

Tracker Alignment”, arXiv:physics/0506197v1, June, 2005;

John R Green, PhD Thesis, “Development of a Prototype Frequency Scanning

Interferometric Absolute Distance Measurement System for the Survey &

Alignment of the International Linear Collider”, University of Oxford, 2007;

Hai-Jun Yan et al., Nuclear Instruments and Methods in Physics Research

A 575 20070 395;

M. Warden, P. A. Coe, D. Urner, A. Reichold, “MONALISA: A precise system for

accelerator component position monitoring”, EUROTeV-Report-2008-08.

[8]    The Internatonal Large Detector, Letter of Intent, February 2010, p. 109, DESY

2009-87;

M. Fernandez, J. Gonzalez, R. Jaramillo et al., EUDET-Memo-2009-23;

R. Orava et al.,  EUDET-Memo-2009-20.